This checklist is effective January 1, 2020, and applies to additions and alterations of nonresidential projects without sleeping accommodations.

**The provisions of this checklist apply only to the portions of the building being added to or altered within the scope of the permitted work when the cumulative square footage of the project is less than 3,000 square feet**. Existing site and landscaping improvements that are not otherwise disturbed are not subject to CALGreen.

**Submit this checklist with your plans to demonstrate compliance with the green building ordinance**. This checklist includes modifications specific to Marin County. For more information on the County’s Green Building requirements, please visit [www.maringreenbuilding.org](http://www.maringreenbuilding.org)

For more information on CALGreen and complete measure language, see Chapters 5 and Appendix 5 here: <https://codes.iccsafe.org/content/CAGBSC2019/table-of-contents>

Project address:

APN: Applicant Name:

**Project Verification**

This checklist will be reviewed and verified by the reviewing County plans examiner.

| **CALGREEN Measure**  | **Plan Sheet Reference**  | **Completed?****(Yes or N/A)** |
| --- | --- | --- |
| **5.106.1** Newly constructed projects and additions which disturb less than one acre of land shall prevent the pollution of stormwater runoff from the construction activities through compliance with the [County of Marin’s stormwater management ordinance](https://www.marincounty.org/depts/pw/divisions/creeks-bay-and-flood/mcstoppp/development/during-construction).  |       | [ ]  Yes [ ]  N/A |
| **5.106.2** Comply with all lawfully enacted stormwater discharge regulations for projects that disturb one acre or more of land or disturb less than one acre of land but are part of a larger common plan of development or sale. Projects must comply with National Pollutant Discharge Elimination System (NPDES) General Permit for Stormwater Discharges Associated with Construction and Land Disturbance Activities. |       | [ ]  Yes [ ]  N/A |
| **5.106.4.1.1** Short-term bicycle parking. If the addition or alteration is adding ten or more parking spaces and is anticipated to generate visitor traffic, provide permanently anchored bicycle racks within 200 feet of the visitors’ entrance, readily visible to passers-by, for 5 percent of new visitor motorized vehicle parking spaces being added, with a minimum of one two-bike capacity rack. |       | [ ]  Yes [ ]  N/A |
| **5.106.4.1.3** For additions or alterations that add 10 or more tenant-occupant vehicular parking spaces, provide secure bicycle parking for 5 percent of the tenant vehicular parking spaces being added, with a minimum of one bicycle parking facility.  |       | [ ]  Yes [ ]  N/A |
| **5.106.4.1.5** Acceptable bicycle parking facility for Sections 5.106.4.1.1 through 5.106.4.1.4 shall be convenient from the street and shall meet one of the following:1. Covered, lockable enclosures with permanently anchored racks for bicycles;
2. Lockable bicycle rooms with permanently anchored racks; or
3. Lockable, permanently anchored bicycle lockers.
 |       | [ ]  Yes [ ]  N/A |
| **5.106.5.3** Construction shall comply with Section 5.106.5.3.1 or Section 5.106.5.3.2 to facilitate future installation of electric vehicle supply equipment (EVSE). When EVSE(s) is/are installed, it shall be in accordance with the California Building Code and the California Electrical Code, and as outlined by the County of Marin Green Building Standards, if triggered. * **For projects upgrading the electrical service panel**, add designated electrical capacity for 20% of onsite parking spaces to be EV Capable
* **For projects modifying the parking lot**, add conduit to all exposed parking spaces. Where existing electrical service will not be upgraded in the existing project scope, designate capacity for parking spaces to the maximum extent that does not require an upgrade to existing electrical service
 |       | [ ]  Yes [ ]  N/A |
| **5.106.5.3.4** The service panel or subpanel circuit directory shall identify the reserved overcurrent protective device space(s) for future EV charging as “EV CAPABLE.” The raceway termination location shall be permanently and visibly marked as “EV CAPABLE.” |       | [ ]  Yes [ ]  N/A |
| **5.106.5.3.5** Future charging spaces qualify as designatedparking as described in Section A5.106.5.1 designated parkingfor clean air vehicles. |       | [ ]  Yes [ ]  N/A |
| **5.106.10** Construction plans shall indicate how site grading or a drainage system will manage all surface water flows to keep water from entering buildings. |       | [ ]  Yes [ ]  N/A |
| **5.201.1** Meet minimum California Energy Commission energy efficiency standards. |       | [ ]  Yes [ ]  N/A |
| **5.303.1.1** For additions in excess of 50,000 square feet, separate submeters shall be installed as follows: 1. For each individual leased, rented, or other tenant space within the building projected to consume more than 100 gal/day (380 L/day), including, but not limited to, spaces used for laundry or cleaners, restaurant or food service, medical or dental office, laboratory, or beauty salon or barber shop.
2. Where separate submeters for individual building tenants are unfeasible, for water supplied to the following subsystems:
	1. Makeup water for cooling towers where flow through is greater than 500 gpm (30 L/s).
	2. Makeup water for evaporative coolers greater than 6 gpm (0.04 L/s).
	3. Steam and hot-water boilers with energy input more than 500,000 Btu/h (147 kW).
 |       | [ ]  Yes [ ]  N/A |
| **5.303.1.2** A separate submeter or metering device shall be provided for any tenant within a new building or within an addition that is projected to consume more than 1,000 gal/ day |       | [ ]  Yes [ ]  N/A |
| **5.303.3.1** The effective flush volume of all water closets shall not exceed 1.28 gallons per flush. Tank-type water closets shall be certified to the performance criteria of the U.S. EPA WaterSense Specification for Tank-Type Toilets.  |       | [ ]  Yes [ ]  N/A |
| **5.303.3.2.1** The effective flush volume of wall-mounted urinals shall not exceed 0.125 gallons per flush. |       | [ ]  Yes [ ]  N/A |
| **5.303.3.2.2** The effective flush volume of floor-mounted urinals shall not exceed 0.5 gallons per flush. |       | [ ]  Yes [ ]  N/A |
| **5.303.3.3.1** Showerheads shall have a maximum flow rate of not more than 1.8 gallons per minute at 80 psi. Showerheads shall be certified to the performance criteria of the U.S. EPA WaterSense Specification for Showerheads |       | [ ]  Yes [ ]  N/A |
| **5.303.3.3.2** When a shower is served by more than one showerhead, the combined flow rate of all showerheads and/or other shower outlets controlled by a single valve shall not exceed 1.8 gallons per minute at 80 psi, or the shower shall be designed to allow only one shower outlet to be in operation at a time.  |       | [ ]  Yes [ ]  N/A |
| **5.303.3.4.1** Lavatory faucets shall have a maximum flow rate of not more than 0.5 gallons per minute at 60 psi. |       | [ ]  Yes [ ]  N/A |
| **5.303.3.4.2** Kitchen faucets shall have a maximum flow rate of not more than 1.8 gallons per minute at 60 psi. Kitchen faucets may temporarily increase the flow above the maximum rate, but not to exceed 2.2 gallons per minute at 60 psi, and must default to a maximum flow rate of 1.8 gallons per minute at 60 psi. |       | [ ]  Yes [ ]  N/A |
| **5.303.3.4.3** Wash fountains shall have a maximum flow rate of not more than 1.8 gallons per minute/20 [rim space (inches) at 60 psi]. |       | [ ]  Yes [ ]  N/A |
| **5.303.3.4.4** Metering faucets shall not deliver more than 0.20 gallons per cycle. |       | [ ]  Yes [ ]  N/A |
| **5.303.3.4.5** Metering faucets for wash fountains shall have a maximum flow rate of not more than 0.20 gallons per cycle/20 [rim space (inches) at 60 psi].  |       | [ ]  Yes [ ]  N/A |
| **5.303.4.1** Food waste disposers shall either modulate the use of water to no more than 1 gpm when the disposer is not in use (not actively grinding food waste/no-load) or shall automatically shut off after no more than 10 minutes of inactivity. Disposers shall use no more than 8 gpm of water. |       | [ ]  Yes [ ]  N/A |
| **5.303.6** Plumbing fixtures and fittings shall be installed in accordance with the California Plumbing Code, and shall meet the applicable standards referenced in Table 1701.1 of the California Plumbing Code and in Chapter 6 of this code. |       | [ ]  Yes [ ]  N/A |
| **5.304.1** Nonresidential developments shall comply with a local water efficient landscape ordinance or the current California Department of Water Resources Model Water Efficient Landscape Ordinance (MEWLO), whichever is more stringent.  |       | [ ]  Yes [ ]  N/A |
| **5.305.1.2** Recycled water supply systems for outdoor applications shall meet the requirements of this code, and the California Code of Regulations, Title 17, Division 1, Chapter 5, Subchapter 1; Title 22, Division 4, Chapter 3; and Title 23, Division 2, Chapter 2.7, as applicable.  |       | [ ]  Yes [ ]  N/A |
| **A5.405.5** Use cement and concrete made with recycled products and complying with standards outlined in in [Marin County Ordinance 3717](https://library.municode.com/ca/marin_county/ordinances/code_of_ordinances?nodeId=997788). |       | [ ]  Yes [ ]  N/A |
| **5.407.1** Provide a weather-resistant exterior wall and foundation envelope as required by California Building Code Section 1403.2 (Weather Protection), manufacturer’s installation instructions or local ordinance, whichever is more stringent. |       | [ ]  Yes [ ]  N/A |
| **5.407.2.1** Design and maintain landscape irrigation systems to prevent spray on structures. |       | [ ]  Yes [ ]  N/A |
| **5.407.2.2.1** Primary exterior entries shall be covered to prevent water intrusion by using nonabsorbent floor and wall finishes within at least 2 feet around and perpendicular to such openings plus at least one of the following: 1. An installed awning at least 4 feet in depth.
2. The door is protected by a roof overhang at least 4 feet in depth.
3. The door is recessed at least 4 feet.
4. Other methods which provide equivalent protection.
 |       | [ ]  Yes [ ]  N/A |
| **5.407.2.2.2** Install flashings integrated with a drainage plane. |       | [ ]  Yes [ ]  N/A |
| **5.408.1** Recycle and/or salvage for reuse a minimum of 65 percent of the nonhazardous construction and demolition waste in accordance with the reporting standards outlined by [Zero Waste Marin](https://zerowastemarin.org/businesses/about-zero-waste-commercial-programs/certified-construction-and-demolition-facilities/). |       | [ ]  Yes [ ]  N/A |
| **5.408.2** Additions and alterations to a building or tenant space that meet the scoping provisions in Section 301.3 for nonresidential additions and alterations, shall require verification that Universal Waste items such as fluorescent lamps and ballast and mercury containing thermostats as well as other California prohibited Universal Waste Materials are disposed of properly and are diverted from landfills. A list of prohibited Universal Waste materials shall be included in the construction documents.  |       | [ ]  Yes [ ]  N/A |
| **5.408.3** 100 percent of trees, stumps, rocks and associated vegetation and soils resulting primarily from land clearing shall be reused or recycled. For a phased project, such material may be stockpiled on site until the storage site is developed.  |       | [ ]  Yes [ ]  N/A |
| **5.410.1** Provide readily accessible areas that serve the entire building and are identified for the depositing, storage and collection of non-hazardous materials for recycling, including (at a minimum) paper, corrugated cardboard, glass, plastics, organic waste, and metals, or meet a lawfully enacted local recycling ordinance, if more restrictive.  |       | [ ]  Yes [ ]  N/A |
| **5.410.1.1** All additions conducted within a 12-month period under single or multiple permits, resulting in an increase of 30 percent or more in floor area, shall provide recycling areas on site.  |       | [ ]  Yes [ ]  N/A |
| **5.410.2.1** Owner’s or Owner representative’s Project Requirements (OPR). The expectations and requirements of the building appropriate to its phase shall be documented before the design phase of the project begins. This documentation shall include the following: 1. Environmental and sustainability goals.
2. Energy efficiency goals.
3. Indoor environmental quality requirements.
4. Project program, including facility functions and hours of operation, and need for afterhours operation.
5. Equipment and systems expectations.
6. Building occupant and O&M personnel expectations
 |       | [ ]  Yes [ ]  N/A |
| **5.410.4** Testing and adjusting of systems shall be required for new buildings less than 10,000 square feet or new systems to serve an addition or alteration subject to Section 303.1. |       | [ ]  Yes [ ]  N/A |
| **5.410.4.2** Develop a written plan of procedures for testing and adjusting systems. Systems to be included for testing and adjusting shall include, as applicable to the project: 1. HVAC systems and controls.
2. Indoor and outdoor lighting and controls.
3. Water heating systems.
4. Renewable energy systems.
5. Landscape irrigation systems.
6. Water reuse systems.
 |       | [ ]  Yes [ ]  N/A |
| **5.410.4.3** Perform testing and adjusting procedures in accordance with applicable standards on each system as determined by the enforcing agency. |       | [ ]  Yes [ ]  N/A |
| **5.410.4.3.1** In addition to testing and adjusting, before a new space-conditioning system serving a building or space is operated for normal use, balancing the system in accordance with the procedures defined by the Testing Adjusting and Balancing Bureau National Standards; the National environmental Balancing Bureau Procedural Standards; Associated Air Balance Council National Standards or as approved by the enforcing agency. |       | [ ]  Yes [ ]  N/A |
| **5.410.4.4** After completion of testing, adjusting and balancing, provide a final report of testing signed by the individual responsible for performing these services. |       | [ ]  Yes [ ]  N/A |
| **5.410.4.5** Provide the building owner or representative with detailed operating and maintenance instructions and copies of guaranties/ warranties for each system. O & M instructions shall be consistent with OSHA requirements in CCR, Title 8, Section 5142, and other related regulations. |       | [ ]  Yes [ ]  N/A |
| **5.410.4.5.1** Include a copy of all inspection verifications and reports required by the enforcing agency. |       | [ ]  Yes [ ]  N/A |
| **5.503.1** Install only a direct-vent sealed-combustion gas or sealed wood-burning fireplace, or a sealed woodstove or pellet stove, and refer to residential requirements in the California Energy Code, Title 24, Part 6, Subchapter 7, Section 150. Woodstoves, pellet stoves and fireplaces shall comply with applicable local ordinances. |       | [ ]  Yes [ ]  N/A |
| **5.503.1.1** Woodstoves and pellet stoves shall comply with U.S. EPA New Source Performance Standards (NSPS) emission limits as applicable and shall have a permanent label indicating they are certified to meet the emission limits. |       | [ ]  Yes [ ]  N/A |
| **5.504.1** The permanent HVAC system shall only be used during construction if necessary to condition the building or areas of addition or alteration within the required temperature range for material and equipment installation. If the HVAC system is used during construction, use return air filters with a Minimum Efficiency Reporting Value (MERV) of 8, based on ASHRAE 52.2 1999, or an average efficiency of 30 percent based on ASHRAE 52.1 1992. Replace all filters immediately prior to occupancy or, if the building is occupied during alteration, at the conclusion of construction. |       | [ ]  Yes [ ]  N/A |
| **5.504.3** At the time of rough installation and during storage on the construction site until final startup of the heating, cooling and ventilating equipment, all duct and other related air distribution component openings shall be covered with tape, plastic, sheet metal or other methods acceptable to the enforcing agency to reduce the amount of dust, water and debris which may enter the system. |       | [ ]  Yes [ ]  N/A |
| **5.504.4.1** Adhesives, sealants and caulks used on the project shall meet the requirements of the following standards: 1. Adhesives, adhesive bonding primers, adhesive primers, sealants, sealant primers and caulks shall comply with local or regional air pollution control or air quality management district rules where applicable, or SCAQMD Rule 1168 VOC limits, as shown in Tables 5.504.4.1 and 5.504.4.2. Such products also shall comply with the Rule 1168 prohibition on the use of certain toxic compounds (chloroform, ethylene dichloride, methylene chloride, perchloroethylene and trichloroethylene), except for aerosol products as specified in subsection 2, below.
2. Aerosol adhesives, and smaller unit sizes of adhesives, and sealant or caulking compounds (in units of product, less packaging, which do not weigh more than one pound and do not consist of more than 16 fluid ounces) shall comply with statewide VOC standards and other requirements, including prohibitions on use of certain toxic compounds, of California Code of Regulations, Title 17, commencing with Section 94507.
 |       | [ ]  Yes [ ]  N/A |
| **5.504.4.3** Architectural paints and coatings shall comply with VOC limits in Table 1 of the ARB Architectural Coatings Suggested Control Measure, as shown in Table 5.504.4.3, unless more stringent local limits apply. The VOC content limit for coatings that do not meet the definitions for the specialty coatings categories listed in Table 5.504.4.3 shall be determined by classifying the coating as a Flat, Nonflat, or Nonflat-High Gloss coating, based on its gloss, as defined in Subsections 4.21, 4.36, and 4.37 of the 2007 California Air Resources Board Suggested Control Measure, and the corresponding Flat, Nonflat, or Nonflat-High Gloss VOC limit in Table 5.504.4.3 shall apply. |       | [ ]  Yes [ ]  N/A |
| **5.504.4.3.1** Aerosol paints and coatings shall meet the PWMIR Limits for ROC in Section 94522(a)(3) and other requirements, including prohibitions on use of certain toxic compounds and ozone depleting substances, in Sections 94522(c)(2) and (d)(2) of California Code of Regulations, Title 17, commencing with Section 94520; and in areas under the jurisdiction of the Bay Area Air Quality Management District additionally comply with the percent VOC by weight of product limits of Regulation 8 Rule 49. |       | [ ]  Yes [ ]  N/A |
| **5.504.4.3.2** Verification of compliance with this section shall be provided at the request of the enforcing agency. Documentation may include, but is not limited to, the following: 1. Manufacturer’s product specification
2. Field verification of on-site product containers
 |       | [ ]  Yes [ ]  N/A |
| **5.504.4.4** All carpet installed in the building interior shall meet at least one of the following testing and product requirements: 1. Carpet and Rug Institute’s Green Label Plus Program;
2. Compliant with the VOC-emission limits and testing requirements specified in the California Department of Public Health Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers, Version 1.1, February 2010 (also known as CDPH Standard Method V1.1 or Specification 01350);
3. NSF/ANSI 140 at the Gold level or higher;
4. Scientific Certifications Systems Sustainable Choice; or
5. Compliant with the Collaborative for High Performance Schools California (CA-CHPS) Criteria Interpretation for EQ 7.0 and EQ 7.1 (formerly EQ 2.2) dated July 2012 and listed in the CHPS High Performance Product Database.
 |       | [ ]  Yes [ ]  N/A |
| **5.504.4.4.1** All carpet cushion installed in the building interior shall meet the requirements of the Carpet and Rug Institute Green Label program |       | [ ]  Yes [ ]  N/A |
| **5.504.4.4.2** All carpet adhesive shall meet the requirements of Table 5.504.4.1. |       | [ ]  Yes [ ]  N/A |
| **5.504.4.5** Hardwood plywood, particleboard, and medium density fiberboard composite wood products used on the interior or exterior of the building shall meet the requirements for formaldehyde as specified in ARB’s Air Toxics Control Measure (ATCM) for Composite Wood (17 CCR 93120 et seq.). Those materials not exempted under the ATCM must meet the specified emission limits, as shown in Table 5.504.4.5. |       | [ ]  Yes [ ]  N/A |
| **5.504.4.5.3** Verification of compliance with this section shall be provided as requested by the enforcing agency. Documentation shall include at least one of the following: 1. Product certifications and specifications.
2. Chain of custody certifications.
3. Product labeled and invoiced as meeting the Composite Wood Products regulation (see CCR, Title 17, Section 93120, et seq.).
4. Exterior grade products marked as meeting the PS-1 or PS-2 standards of the Engineered Wood Association, the Australian AS/NZS 2269 or European 636 3S standards.
5. Other methods acceptable to the enforcing agency
 |       | [ ]  Yes [ ]  N/A |
| **5.504.4.6** For 80 percent of floor area receiving resilient flooring, installed resilient flooring shall meet at least one of the following: 1. Certified under the Resilient Floor Covering Institute (RFCI) FloorScore program;
2. Compliant with the VOC-emission limits and testing requirements specified in the California Department of Public Health’s 2010 Standard Method for the Testing and Evaluation Chambers, Version 1.1, February 2010;
3. Compliant with the Collaborative for High Performance Schools California (CA-CHPS) Criteria Interpretation for EQ 7.0 and EQ 7.1 (formerly EQ 2.2) dated July 2012 and listed in the CHPS High Performance Product Database; or
4. Products certified under UL GREENGUARD Gold (formerly the Greenguard Children’s & Schools Program).
 |       | [ ]  Yes [ ]  N/A |
| **5.504.4.6.1** Documentation shall be provided verifying that resilient flooring materials meet the pollutant emission limits. |       | [ ]  Yes [ ]  N/A |
| **5.504.5.3** In mechanically ventilated buildings, provide regularly occupied areas of the building with air filtration media for outside and return air that provides at least a Minimum Efficiency Reporting Value (MERV) of 8. Specified filters shall be installed prior to occupancy, and recommendations for maintenance with filters of the same value shall be included in the operation and maintenance manual. Exceptions: 1. An ASHRAE 10-percent to 15-percent efficiency filter shall be permitted for an HVAC unit meeting the 2016 California Energy Code having 60,000 Btu/h or less capacity per fan coil, if the energy use of the air delivery system is 0.4 W/cfm or less at design air flow.
2. Existing mechanical equipment
 |       | [ ]  Yes [ ]  N/A |
| **5.504.5.3.1** Installed filters shall be clearly labeled by the manufacturer indicating the MERV rating. |       | [ ]  Yes [ ]  N/A |
| **5.504.7** Where outdoor areas are provided for smoking, prohibit smoking within 25 feet of building entries, outdoor air intakes and operable windows and within the building as already prohibited by other laws or regulations; or as enforced by ordinances, regulations or policies of any city, county, city and county, California Community College, campus of the California State University, or campus of the University of California, whichever are more stringent. When ordinances, regulations or policies are not in place, post signage to inform building occupants of the prohibitions |       | [ ]  Yes [ ]  N/A |
| **5.505.1** Indoor moisture control. Buildings shall meet or exceed the provisions of the California Building Code, CCR, Title 24, Part 2, Section 1203 (Ventilation) and Chapter 14 (Exterior Walls). For additional measures not applicable to low-rise residential occupancies, see Section 5.407.2 of this code. |       | [ ]  Yes [ ]  N/A |
| **5.506.1** Outside air delivery. For mechanically or naturally ventilated spaces in buildings, meet the minimum requirements of Section 120.1 (Requirements for Ventilation) of the 2016 California Energy Code or the applicable local code, whichever is more stringent, and Division 1, Chapter 4 of CCR, Title 8. |       | [ ]  Yes [ ]  N/A |
| **5.506.2** For buildings or additions equipped with demand control ventilation, CO2 sensors and ventilation controls shall be specified and installed in accordance with the requirements of the 2016 California Energy Code, Section 120.1(c)4. |       | [ ]  Yes [ ]  N/A |
| **5.507.4** Acoustical control. Employ building assemblies and components with Sound Transmission Class (STC) values determined in accordance with ASTM E90 and ASTM E413 or Outdoor-Indoor Sound Transmission Class (OITC) determined in accordance with ASTM E1332, using either the prescriptive or performance method in Section 5.507.4.1 or 5.507.4.2. Exception: Buildings with few or no occupants or where occupants are not likely to be affected by exterior noise, as determined by the enforcement authority, such as factories, stadiums, storage, enclosed parking structures and utility buildings. |       | [ ]  Yes [ ]  N/A |
| **5.507.4.1** Wall and roof-ceiling assemblies exposed to the noise source making up the building or addition envelope or altered envelope shall meet a composite STC rating of at least 50 or a composite OITC rating of no less than 40, with exterior windows of a minimum STC of 40 or OITC of 30 in the following locations: 1. Within the 65 CNEL noise contour of an airport
 |       | [ ]  Yes [ ]  N/A |
| **5.507.4.1.1** Buildings exposed to a noise level of 65 dB Leq-1-hr during any hour of operation shall have building, addition or alteration exterior wall and roof-ceiling assemblies exposed to the noise source meeting a composite STC rating of at least 45 (or OITC 35), with exterior windows of a minimum STC of 40 (or OITC 30). |       | [ ]  Yes [ ]  N/A |
| **5.507.4.2** For buildings located as defined in Section 5.507.4.1 or 5.507.4.1.1, wall and roof-ceiling assemblies exposed to the noise source making up the building or addition envelope or altered envelope shall be constructed to provide an interior noise environment attributable to exterior sources that does not exceed an hourly equivalent noise level (Leq -1Hr) of 50 dBA in occupied areas during any hours of operations |       | [ ]  Yes [ ]  N/A |
| **5.507.4.2.1** Exterior features such as sound walls or earth berms may be utilized as appropriate to the building, addition or alteration project to mitigate sound migration to the interior. |       | [ ]  Yes [ ]  N/A |
| **5.507.4.2.2** An acoustical analysis documenting complying interior sound levels shall be prepared by personnel approved by the architect or engineer of record. |       | [ ]  Yes [ ]  N/A |
| **5.507.4.3** Wall and floor-ceiling assemblies separating tenant spaces and tenant spaces and public places shall have an STC of at least 40. |       | [ ]  Yes [ ]  N/A |
| **5.508.1** Ozone depletion and greenhouse gas reductions. Installations of HVAC, refrigeration and fire suppression equipment shall comply with Sections 5.508.1.1 and 5.508.1.2. |       | [ ]  Yes [ ]  N/A |
| **5.508.1.1** Install HVAC, refrigeration and fire suppression equipment that do not contain Chlorofluorocarbons (CFCs.) |       | [ ]  Yes [ ]  N/A |
| **5.508.1.2** Install HVAC, refrigeration and fire suppression equipment that do not contain Halons. |       | [ ]  Yes [ ]  N/A |
| **5.508.2 through 5.508.2.6.3** New commercial refrigeration systems shall comply with the provisions of this section when installed in retail food stores 8,000 square feet or more conditioned area, and that utilize either refrigerated display cases, or walk-in coolers or freezers connected to remote compressor units or condensing units. The leak reduction measures apply to refrigeration systems containing high-global-warming potential (high-GWP) refrigerants with a GWP of 150 or greater. New refrigeration systems include both new facilities and replacement of existing refrigeration systems in existing facilities. |       | [ ]  Yes [ ]  N/A |